## Version Control
Version | Summary
v1 | 06/03/23 - First release of quarterly grid forecast update (Q1 23)
v2 | 17/07/23 - Second release of quarterly grid forecast update (Q2 23)
v3 | 13/11/23 - Third release of quarterly grid forecast update (Q4 23)
v4 | 9/02/2024 - Fourth release of quarterly grid forecast update (Q1 24)
v5 | 30/04/2024 - Fifth release of quarterly grid forecast update (Q2 24)
v6 | 21/08/2024 - 6th release of the quarterly grid forecast update (Q3 24)
v7 | 12/11/2024 - 7th release of the quarterly grid forecast update (Q4 24)
v8 | 18/02/2025 - 8th release of the quarterly grid forecast update (Q1 25)
v9 | 02/05/2025 - 9th release of the quarterly grid forecast update (Q2 25)
v10 | 17/11/2025 - 10th release of the quarterly grid forecast update (Q4 25)
v11 | 20/02/2026 - 11th release of the quarterly grid forecast update (Q1 26)

## GLL - Baringa RC
Grid-Line-Losses
MLF
| Project | Technology | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075
| Text | [1,0] | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index | % Index
Technical (Thermal) Grid Curtailment)
| Project | Technology | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075

## Summary
Grid MLF and Curtailment Forecast
Select State | QLD
Select RES Project | Walla Walla BESS - Gen
Grid Model
Financial Year
Project | Capacity (MW) | Scenario | Name | Unit | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | AVG MLF | AVG CURT
Walla Walla BESS - Gen | 650 / 2h | Aurora MT | Walla Walla BESS - Gen - Aurora MT | MLF | - | - | - | - | - | - | 0.93746 | 0.90863 | 0.90919 | 0.89831 | 0.89348 | 0.89689 | 0.89689 | 0.89405 | 0.89405 | 0.89405 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | - | - | - | - | - | - | 0.9033
|  |  |  | Curtailment | [48 empty] | - | bar: Financial Year 2025 to Financial Year 2071
|  | Aurora CS | Walla Walla BESS - Gen - Aurora CS | MLF | - | - | - | - | - | - | 0.94832 | 0.91617 | 0.90358 | 0.89912 | 0.89442 | 0.89773 | 0.89773 | 0.89405 | 0.89405 | 0.89405 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | 0.90119 | - | - | - | - | - | - | 0.90197
|  |  |  | Curtailment | [48 empty] | - | bar: Financial Year 2025 to Financial Year 2071
|  | Baringa HW | Walla Walla BESS - Gen - Baringa HW | MLF | - | - | - | - | - | - | 0.88672 | 0.9204 | 0.91664 | 0.91062 | 0.91062 | 0.88736 | 0.88736 | 0.88169 | 0.88169 | 0.88005 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | - | - | - | - | - | - | 0.88912
|  |  |  | Curtailment | [48 empty] | - | bar: Financial Year 2025 to Financial Year 2071
|  | Baringa RC | Walla Walla BESS - Gen - Baringa RC | MLF | - | - | - | - | - | - | 0.93733 | 0.90222 | 0.90022 | 0.89384 | 0.89384 | 0.89249 | 0.89249 | 0.88728 | 0.88728 | 0.88756 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | 0.89147 | - | - | - | - | - | - | 0.89318
|  |  |  | Curtailment | [48 empty] | - | bar: Financial Year 2025 to Financial Year 2071
V2 - Murray River (Aurora's Central Scenario May 2025 Average REZ MLF)* |  |  |  | MLF | [47 empty] | - | bar: Financial Year 2025 to Financial Year 2071
|  |  |  | Max_mlf | 0.93746 | 0.90863 | 0.90919 | 0.89831 | 0.89348 | 0.89689 | 0.89689 | 0.89405 | 0.89405 | 0.89405 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037 | 0.9037
|  |  |  | Min_mlf | 0.88672 | 0.9204 | 0.91664 | 0.91062 | 0.91062 | 0.88736 | 0.88736 | 0.88169 | 0.88169 | 0.88005 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624 | 0.88624
TRUE |  |  |  | Diff_mlf | 0.050736 | -0.011769 | -0.0074458 | -0.012305 | -0.017139 | 0.009536 | 0.009536 | 0.012361 | 0.012361 | 0.013998 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463 | 0.017463
Max_curt | bar: Financial Year 2025
Min_curt | bar: Financial Year 2025
Diff_curt | bar: Financial Year 2025
|  |  |  | Walla Walla BESS - Gen - Aurora MLF difference between CS & MT | 0.010869 | 0.0075401 | -0.0056168 | 0.00080995 | 0.00093692 | 0.00083263 | 0.00083263 | 0 | 0 | 0 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099 | -0.0025099
Walla Walla BESS - Gen - Aurora Curt difference between CS & MT | bar: Financial Year 2025
|  |  |  | Walla Walla BESS - Gen - Baringa MLF difference between RC & HW | 0.050614 | -0.018176 | -0.016419 | -0.016778 | -0.016778 | 0.0051285 | 0.0051285 | 0.005589 | 0.005589 | 0.0075043 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259 | 0.0052259
Walla Walla BESS - Gen - Baringa Curt difference between RC & HW | bar: Financial Year 2025
* - Represents the average MLF of existing and in-service (by FY25) renewable projects within the REZ as at Q1 2023
Years that were run in grid model

## Raw Data - Baringa RC
|  | Source Data | [10 empty] | Marginal Loss Factors | [46 empty] | Curtailment
State | Project | State | Project | Project Phase | Capacity (GEM) | Connection Arrangement | Commissioning Start | Model FY | Yr35 | In GM? | Technology | REZ | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | Comments
NSW | Bogandilla WF | NSW | Argoon WF | 2 | 612 |  | 2036-09-01 | 2037 | 2071 | Yes | Wind | N5 - South West NSW | - | - | - | - | - | - | - | - | - | - | - | - | 87.01% | 87.01% | 87.01% | 86.95% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | 86.99% | - | - | - | - | - | - | - | - | - | - | - | - | 7.842% | 7.842% | 7.842% | 7.62% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962% | 8.962%
QLD | Moah Creek SF | NSW | Kerrs Creek WF | 2 | 374 | Cut-in onto Wellington to Mt Piper 330kV line | 2030-08-01 | 2031 | 2065 | Yes | Wind | N3 - Central-West Orana | - | - | - | - | - | - | 93.88% | 93.81% | 93.78% | 93.59% | 93.59% | 92.98% | 92.98% | 93.17% | 93.17% | 93.46% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | 93.62% | - | - | - | - | - | - | - | - | - | - | - | - | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | - | - | - | - | - | -
VIC | Moah Creek WF | NSW | Walla Walla BESS - Gen | 1 | 650 / 2h | 330kV | 2030-09-01 | 2031 | 2065 | Yes | BESS |  | - | - | - | - | - | - | 93.73% | 90.22% | 90.02% | 89.38% | 89.38% | 89.25% | 89.25% | 88.73% | 88.73% | 88.76% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | 89.15% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Mt Sugarloaf WF | NSW | Walla Wella BESS - Load | 1 | 650 / 2h | 330kV | 2030-09-01 | 2031 | 2065 | Yes | BESS |  | - | - | - | - | - | - | 96.14% | 93.48% | 93.45% | 93.75% | 93.75% | 94.6% | 94.6% | 94.9% | 94.9% | 95.24% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | 94.78% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Silver Eye (Tara) WF | QLD | Bogandilla WF | 2 | 578 |  | 2032-09-01 | 2033 | 2067 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | - | - | - | - | 96.64% | 97.3% | 97.3% | 96.45% | 96.45% | 96.57% | 96.57% | 93.96% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | - | - | - | - | - | - | - | - | - | - | - | - | 0.0009589% | 0.009% | 0.009% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | - | - | - | -
| Tarong West WF | QLD | Moah Creek SF | 2 | 285 |  | 2029-11-01 | 2030 | 2064 | Yes | Solar | Q6 - Fitzroy | - | - | - | - | - | 91.96% | 91.69% | 93.03% | 93.15% | 91.21% | 91.21% | 92.56% | 92.56% | 91.37% | 91.37% | 92.35% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | 92.18% | - | - | - | - | - | - | - | - | - | - | - | - | 0.9361% | 0.7038% | 0.2992% | 0.01506% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | - | - | - | - | - | - | -
| Wooderson SF | QLD | Moah Creek WF | 3 | 360 |  | 2029-01-01 | 2029 | 2063 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | 94.58% | 93.81% | 92.98% | 94.61% | 92.28% | 88.02% | 88.02% | 89.75% | 89.75% | 88.14% | 88.14% | 90.09% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | 89.89% | - | - | - | - | - | - | - | - | - | - | - | - | 0.6885% | 0.2314% | 0.2043% | 0.06244% | 0.0004936% | 0.02253% | 0.02253% | 0.01917% | 0.01917% | 0% | 0% | 0.0005023% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | - | - | - | - | - | - | - | -
|  | QLD | Mt Sugarloaf WF | 2 | 510 |  | 2032-12-01 | 2033 | 2067 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | - | - | - | - | 94.2% | 91.23% | 91.23% | 92.54% | 92.54% | 91.08% | 91.08% | 93.3% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | 93% | - | - | - | - | - | - | - | - | - | - | - | - | 0.00188% | 0.01018% | 0.01018% | 0% | 0% | 0% | 0% | 0.0001653% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | - | - | - | -
|  | QLD | Silver Eye (Tara) WF | 1 | 799.2 |  | 2034-10-01 | 2035 | 2069 | Yes | Wind | Q8 - Darling Downs | - | - | - | - | - | - | - | - | - | - | 94.95% | 94.95% | 94.95% | 94.83% | 94.83% | 93.67% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | 93.44% | - | - | - | - | - | - | - | - | - | - | - | - | 0% | 0% | 0% | 0% | 0% | 0.0001653% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | - | -
|  | QLD | Tarong West WF | 3 | 436.5 |  | 2030-10-01 | 2031 | 2065 | Yes | Wind | Q8 - Darling Downs | - | - | - | - | - | - | 95.35% | 95.52% | 95.61% | 95.57% | 95.57% | 95.42% | 95.42% | 95.01% | 95.01% | 94.79% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | 94.56% | - | - | - | - | - | - | - | - | - | - | - | - | 0.1288% | 0.06415% | 0.00112% | 0.002755% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | - | - | - | - | - | -
|  | QLD | Wooderson SF | 2 | 450 | Cut-in onto new Calvale to Calliope River 275kV line | 2030-10-01 | 2031 | 2065 | Yes | Solar | Q6 - Fitzroy | - | - | - | - | - | - | 92.68% | 94.29% | 94.2% | 92.79% | 92.79% | 94.05% | 94.05% | 92.65% | 92.65% | 93.49% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | 93.26% | - | - | - | - | - | - | - | - | - | - | - | - | 0.1288% | 0.06415% | 0.00112% | 0.002755% | 0.002755% | 0% | 0% | 0% | 0% | 0.0007216% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | - | - | - | - | - | -
|  | VIC | Cannie WF | 2 | 1000.8 | Direct connection to Kerang 500/220kV substation | 2033-05-01 | 2033 | 2067 | Yes | Wind | V2 - Murray River | - | - | - | - | - | - | - | - | 97.49% | 97.54% | 97.54% | 97.08% | 97.08% | 97.02% | 97.02% | 96.67% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | 96.5% | - | - | - | - | - | - | - | - | - | - | - | - | 0.08891% | 0.6467% | 0.6467% | 0.7778% | 0.7778% | 1.12% | 1.12% | 1.336% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | 1.165% | - | - | - | -
|  | VIC | Watta Wella WF | 3 | 306 |  | 2030-09-01 | 2031 | 2065 | Yes | Wind | V3 - Western Victoria | - | - | - | - | - | - | 97.7% | 97.65% | 97.54% | 97.23% | 97.23% | 96.83% | 96.83% | 96.63% | 96.63% | 96.32% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | 96.14% | - | - | - | - | - | - | - | - | - | - | - | - | 0.007307% | 0.4534% | 0.5766% | 0.6087% | 0.6087% | 0.7173% | 0.7173% | 1.034% | 1.034% | 1.284% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | 1.109% | - | - | - | - | - | -
|  | VIC | Bunyip North BESS - Gen | 2 | 400 | Cut-in onto 976 Rowville to Yallourn 220KV line | 2029-09-01 | 2030 | 2064 | Yes | BESS |  | - | - | - | - | - | 97.44% | 97.47% | 97.43% | 97.46% | 97.33% | 97.33% | 97.78% | 97.78% | 97.61% | 97.61% | 97.61% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | 97.59% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Bunyip North BESS - Load | 2 | 400 | Cut-in onto 976 Rowville to Yallourn 220KV line | 2029-09-01 | 2030 | 2064 | Yes | BESS |  | - | - | - | - | - | 100.6% | 100.7% | 100.7% | 101% | 101% | 101% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | 101.5% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Tragowel BESS - Gen | 1 | 500 | Kerang 500A | 2031-09-01 | 2032 | 2066 | Yes | BESS |  | - | - | - | - | - | - | - | 97.95% | 97.84% | 97.49% | 97.49% | 96.93% | 96.93% | 96.74% | 96.74% | 96.44% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | 96.23% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Tragowel BESS - Load | 1 | 500 | Kerang 500A | 2031-09-01 | 2032 | 2066 | Yes | BESS |  | - | - | - | - | - | - | - | 98.87% | 98.66% | 98.56% | 98.56% | 98.36% | 98.36% | 98.35% | 98.35% | 98.04% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | 98.08% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Watta Wella BESS - Gen | 1 | 500 | Bulgana 220kV | 2031-09-01 | 2032 | 2066 | Yes | BESS | V3 - Western Victoria | - | - | - | - | - | - | - | 97.34% | 97.24% | 97% | 97% | 96.56% | 96.56% | 96.29% | 96.29% | 96.02% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Watta Wella BESS - Load | 1 | 500 | Bulgana 220kV | 2031-09-01 | 2032 | 2066 | Yes | BESS | V3 - Western Victoria | - | - | - | - | - | - | - | 98.81% | 98.74% | 98.68% | 98.68% | 98.63% | 98.63% | 98.52% | 98.52% | 98.27% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | 98.24% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## Raw Data - Baringa HW
|  | Source Data | [10 empty] | Marginal Loss Factors | [46 empty] | Curtailment
State | Project | State | Project | Project Phase | Capacity (GEM) | Connection Arrangement | Commissioning Start | Model FY | Yr35 | In GM? | Technology | REZ | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | Comments
NSW | Bogandilla WF | NSW | Argoon WF | 2 | 612 |  | 2036-09-01 | 2037 | 2071 | Yes | Wind | N5 - South West NSW | - | - | - | - | - | - | - | - | - | - | - | - | 86.45% | 86.45% | 86.45% | 86.54% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | 86.52% | - | - | - | - | - | - | - | - | - | - | - | - | 10.09% | 10.09% | 10.09% | 10.87% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57% | 10.57%
QLD | Moah Creek SF | NSW | Kerrs Creek WF | 2 | 374 | Cut-in onto Wellington to Mt Piper 330kV line | 2030-08-01 | 2031 | 2065 | Yes | Wind | N3 - Central-West Orana | - | - | - | - | - | - | 93.07% | 92.68% | 92.7% | 92.68% | 92.68% | 93.24% | 93.24% | 93.98% | 93.98% | 94.8% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | 93.53% | - | - | - | - | - | - | - | - | - | - | - | - | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.5005% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | - | - | - | - | - | -
VIC | Moah Creek WF | NSW | Walla Walla BESS - Gen | 1 | 650 / 2h | 330kV | 2030-09-01 | 2031 | 2065 | Yes | BESS |  | - | - | - | - | - | - | 88.67% | 92.04% | 91.66% | 91.06% | 91.06% | 88.74% | 88.74% | 88.17% | 88.17% | 88.01% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | 88.62% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Mt Sugarloaf WF | NSW | Walla Wella BESS - Load | 1 | 650 / 2h | 330kV | 2030-09-01 | 2031 | 2065 | Yes | BESS |  | - | - | - | - | - | - | 90.65% | 94.18% | 93.99% | 94.62% | 94.62% | 93.44% | 93.44% | 93.74% | 93.74% | 94.05% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | 93.66% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Silver Eye (Tara) WF | QLD | Bogandilla WF | 2 | 578 |  | 2032-09-01 | 2033 | 2067 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | - | - | - | - | 97.49% | 97.54% | 97.54% | 96.52% | 96.52% | 96.99% | 96.99% | 92.96% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | 92.76% | - | - | - | - | - | - | - | - | - | - | - | - | 0.02775% | 0.03046% | 0.03046% | 0% | 0% | 0% | 0% | 0% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | 0.04699% | - | - | - | -
| Tarong West WF | QLD | Moah Creek SF | 2 | 285 |  | 2029-11-01 | 2030 | 2064 | Yes | Solar | Q6 - Fitzroy | - | - | - | - | - | 92.24% | 92.24% | 92.87% | 93.35% | 91.35% | 91.35% | 91.43% | 91.43% | 90.34% | 90.34% | 91.45% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | 91.06% | - | - | - | - | - | - | - | - | - | - | - | - | 1.002% | 0.3826% | 0.2656% | 0.2371% | 0.3072% | 0.3072% | 0% | 0% | 0% | 0% | 0% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | 0.01777% | - | - | - | - | - | - | -
| Wooderson SF | QLD | Moah Creek WF | 3 | 360 |  | 2029-01-01 | 2029 | 2063 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | 94.37% | 93.46% | 93.7% | 92.36% | 90.26% | 87.14% | 87.14% | 88.45% | 88.45% | 85.93% | 85.93% | 88.21% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | 87.95% | - | - | - | - | - | - | - | - | - | - | - | - | 0.864% | 0.2575% | 0.0818% | 0.04059% | 0.03962% | 0.05276% | 0.05276% | 0% | 0% | 0% | 0% | 0.0005023% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | 0.007111% | - | - | - | - | - | - | - | -
|  | QLD | Mt Sugarloaf WF | 2 | 510 |  | 2032-12-01 | 2033 | 2067 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | - | - | - | - | 92.56% | 90.48% | 90.48% | 91.64% | 91.64% | 89.33% | 89.33% | 92.04% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | 91.83% | - | - | - | - | - | - | - | - | - | - | - | - | 0.04177% | 0.04176% | 0.04176% | 0% | 0% | 0% | 0% | 0.0001653% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | 0.01155% | - | - | - | -
|  | QLD | Silver Eye (Tara) WF | 1 | 799.2 |  | 2034-10-01 | 2035 | 2069 | Yes | Wind | Q8 - Darling Downs | - | - | - | - | - | - | - | - | - | - | 94.77% | 94.77% | 94.77% | 94.84% | 94.84% | 93.15% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | 92.95% | - | - | - | - | - | - | - | - | - | - | - | - | 0% | 0% | 0% | 0% | 0% | 0% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | 0.03742% | - | -
|  | QLD | Tarong West WF | 3 | 436.5 |  | 2030-10-01 | 2031 | 2065 | Yes | Wind | Q8 - Darling Downs | - | - | - | - | - | - | 95.27% | 95.9% | 95.7% | 95.41% | 95.41% | 95% | 95% | 94.47% | 94.47% | 94.11% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | 93.89% | - | - | - | - | - | - | - | - | - | - | - | - | 0.0606% | 0.03209% | 0.04533% | 0.04001% | 0.04001% | 0% | 0% | 0% | 0% | 0.0007216% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | 0.03601% | - | - | - | - | - | -
|  | QLD | Wooderson SF | 2 | 450 | Cut-in onto new Calvale to Calliope River 275kV line | 2030-10-01 | 2031 | 2065 | Yes | Solar | Q6 - Fitzroy | - | - | - | - | - | - | 93.15% | 94.21% | 94.46% | 93.09% | 93.09% | 92.9% | 92.9% | 91.63% | 91.63% | 92.38% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | 92% | - | - | - | - | - | - | - | - | - | - | - | - | 0.3016% | 0.2773% | 0.2329% | 0.3235% | 0.3235% | 0% | 0% | 0% | 0% | 0% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | 0.02515% | - | - | - | - | - | -
|  | VIC | Cannie WF | 2 | 1000.8 | Direct connection to Kerang 500/220kV substation | 2033-05-01 | 2033 | 2067 | Yes | Wind | V2 - Murray River | - | - | - | - | - | - | - | - | 97.01% | 97.01% | 97.01% | 97.01% | 97.01% | 96.41% | 96.41% | 96.03% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | 95.86% | - | - | - | - | - | - | - | - | - | - | - | - | 1.196% | 1.196% | 1.196% | 1.196% | 1.196% | 1.711% | 1.711% | 2.832% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | 4.784% | - | - | - | -
|  | VIC | Watta Wella WF | 3 | 306 |  | 2030-09-01 | 2031 | 2065 | Yes | Wind | V3 - Western Victoria | - | - | - | - | - | - | 93.54% | 97.48% | 97.49% | 97.46% | 97.46% | 96.82% | 96.82% | 96.22% | 96.22% | 95.92% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | 95.82% | - | - | - | - | - | - | - | - | - | - | - | - | 0.157% | 0.09217% | 0.1883% | 0.2445% | 0.2445% | 1.116% | 1.116% | 1.711% | 1.711% | 3.262% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | 4.666% | - | - | - | - | - | -
|  | VIC | Bunyip North BESS - Gen | 2 | 400 | Cut-in onto 976 Rowville to Yallourn 220KV line | 2029-09-01 | 2030 | 2064 | Yes | BESS |  | - | - | - | - | - | 97.43% | 97.43% | 97.55% | 97.57% | 97.51% | 97.51% | 97.87% | 97.87% | 97.9% | 97.9% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | 97.89% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Bunyip North BESS - Load | 2 | 400 | Cut-in onto 976 Rowville to Yallourn 220KV line | 2029-09-01 | 2030 | 2064 | Yes | BESS |  | - | - | - | - | - | 100.7% | 100.8% | 101.1% | 101.2% | 101.2% | 101.2% | 101.5% | 101.5% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | 101.6% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Tragowel BESS - Gen | 1 | 500 | Kerang 500A | 2031-09-01 | 2032 | 2066 | Yes | BESS |  | - | - | - | - | - | - | - | 96.98% | 96.98% | 96.98% | 96.98% | 96.98% | 96.98% | 96.35% | 96.35% | 96.09% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | 95.81% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Tragowel BESS - Load | 1 | 500 | Kerang 500A | 2031-09-01 | 2032 | 2066 | Yes | BESS |  | - | - | - | - | - | - | - | 98.12% | 98.12% | 98.12% | 98.12% | 98.12% | 98.12% | 97.71% | 97.71% | 97.29% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | 97.31% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Watta Wella BESS - Gen | 1 | 500 | Bulgana 220kV | 2031-09-01 | 2032 | 2066 | Yes | BESS | V3 - Western Victoria | - | - | - | - | - | - | - | 97.38% | 97.26% | 97.26% | 97.26% | 96.67% | 96.67% | 96.03% | 96.03% | 95.89% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | 95.65% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Watta Wella BESS - Load | 1 | 500 | Bulgana 220kV | 2031-09-01 | 2032 | 2066 | Yes | BESS | V3 - Western Victoria | - | - | - | - | - | - | - | 98.84% | 98.89% | 98.95% | 98.95% | 98.53% | 98.53% | 98.09% | 98.09% | 97.72% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | 97.79% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## Raw Data - Aurora CS
|  | Source Data | [10 empty] | Marginal Loss Factors | [46 empty] | Curtailment
State | Project | State | Project | Project Phase | Capacity (GEM) | Connection Arrangement | Commissioning Start | Model FY | Yr35 | In GM? | Technology | REZ | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | Comments
NSW | Bogandilla WF | NSW | Argoon WF | 2 | 612 |  | 2036-09-01 | 2037 | 2071 | Yes | Wind | N5 - South West NSW | - | - | - | - | - | - | - | - | - | - | - | - | 87.34% | 87.34% | 87.34% | 87.34% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | 88.07% | - | - | - | - | - | - | - | - | - | - | - | - | 7.652% | 7.652% | 7.652% | 7.652% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141% | 8.141%
QLD | Moah Creek SF | NSW | Kerrs Creek WF | 2 | 374 | Cut-in onto Wellington to Mt Piper 330kV line | 2030-08-01 | 2031 | 2065 | Yes | Wind | N3 - Central-West Orana | - | - | - | - | - | - | 93.33% | 93.2% | 93.14% | 93.02% | 92.99% | 92.44% | 92.44% | 91.89% | 91.89% | 91.89% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | - | - | - | - | - | - | - | - | - | - | - | - | 0.1085% | 0.133% | 0.4956% | 0.5297% | 0.1174% | 0.1997% | 0.1997% | 0.1262% | 0.1262% | 0.1262% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | 0.161% | - | - | - | - | - | -
VIC | Moah Creek WF | NSW | Walla Walla BESS - Gen | 1 | 650 / 2h | 330kV | 2030-09-01 | 2031 | 2065 | Yes | BESS |  | - | - | - | - | - | - | 94.83% | 91.62% | 90.36% | 89.91% | 89.44% | 89.77% | 89.77% | 89.41% | 89.41% | 89.41% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | 90.12% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Mt Sugarloaf WF | NSW | Walla Wella BESS - Load | 1 | 650 / 2h | 330kV | 2030-09-01 | 2031 | 2065 | Yes | BESS |  | - | - | - | - | - | - | 96.11% | 93.34% | 92.78% | 92.33% | 92.65% | 93.86% | 93.86% | 93.25% | 93.25% | 93.25% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | 93.78% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Silver Eye (Tara) WF | QLD | Bogandilla WF | 2 | 578 |  | 2032-09-01 | 2033 | 2067 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | - | - | - | - | 91.13% | 91.22% | 90.76% | 90.82% | 90.82% | 91.42% | 91.42% | 91.42% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | 91.94% | - | - | - | - | - | - | - | - | - | - | - | - | 2.73% | 3.159% | 3.015% | 2.823% | 2.823% | 2.359% | 2.359% | 2.359% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | 2.178% | - | - | - | -
| Tarong West WF | QLD | Moah Creek SF | 2 | 285 |  | 2029-11-01 | 2030 | 2064 | Yes | Solar | Q6 - Fitzroy | - | - | - | - | - | 93.53% | 90.98% | 93.53% | 92.42% | 92.07% | 91.46% | 90.56% | 90.56% | 88.18% | 88.18% | 88.18% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | 87.07% | - | - | - | - | - | - | - | - | - | - | - | - | 0.661% | 1.388% | 0.9431% | 0.3766% | 0.2786% | 0.1061% | 0.1011% | 0.1011% | 0.2023% | 0.2023% | 0.2023% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | 0.4887% | - | - | - | - | - | - | -
| Wooderson SF | QLD | Moah Creek WF | 3 | 360 |  | 2029-01-01 | 2029 | 2063 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | 94.1% | 99.44% | 94.1% | 99.44% | 98.39% | 97.02% | 95.64% | 94.33% | 94.33% | 90.02% | 90.02% | 90.02% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | 88.26% | - | - | - | - | - | - | - | - | - | - | - | - | 0.3973% | 0.1185% | 0.2768% | 0.1804% | 0.07418% | 0.02337% | 0.02232% | 0.04133% | 0.04133% | 0.0483% | 0.0483% | 0.0483% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | 0.1527% | - | - | - | - | - | - | - | -
|  | QLD | Mt Sugarloaf WF | 2 | 510 |  | 2032-12-01 | 2033 | 2067 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | - | - | - | - | 98.44% | 97.79% | 96.78% | 95.73% | 95.73% | 92.59% | 92.59% | 92.59% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | 91.15% | - | - | - | - | - | - | - | - | - | - | - | - | 0.05473% | 0.009055% | 0.01369% | 0.02363% | 0.02363% | 0.03492% | 0.03492% | 0.03492% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | 0.1682% | - | - | - | -
|  | QLD | Silver Eye (Tara) WF | 1 | 799.2 |  | 2034-10-01 | 2035 | 2069 | Yes | Wind | Q8 - Darling Downs | - | - | - | - | - | - | - | - | - | - | - | 92.53% | 92.53% | 92.99% | 92.99% | 92.99% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | 93.5% | - | - | - | - | - | - | - | - | - | - | - | - | 0.01668% | 0.008733% | 0.008733% | 0% | 0% | 0% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | 0.06454% | - | -
|  | QLD | Tarong West WF | 3 | 436.5 |  | 2030-10-01 | 2031 | 2065 | Yes | Wind | Q8 - Darling Downs | - | - | - | - | - | - | 95.1% | 95.77% | 95.58% | 95.28% | 95.01% | 94.82% | 94.82% | 94.73% | 94.73% | 94.73% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | 94.59% | - | - | - | - | - | - | - | - | - | - | - | - | 0.1858% | 0.177% | 0.04719% | 0.01586% | 0.01877% | 0.01427% | 0.01427% | 0.01743% | 0.01743% | 0.01743% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | 0.07587% | - | - | - | - | - | -
|  | QLD | Wooderson SF | 2 | 450 | Cut-in onto new Calvale to Calliope River 275kV line | 2030-10-01 | 2031 | 2065 | Yes | Solar | Q6 - Fitzroy | - | - | - | - | - | - | 91.9% | 94.55% | 93.31% | 93.06% | 92.62% | 92.1% | 92.1% | 90.27% | 90.27% | 90.27% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | 89.33% | - | - | - | - | - | - | - | - | - | - | - | - | 1.678% | 1.101% | 0.5355% | 0.3183% | 0.1182% | 0.03699% | 0.03699% | 0.05642% | 0.05642% | 0.05642% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | 0.5327% | - | - | - | - | - | -
|  | VIC | Cannie WF | 2 | 1000.8 | Direct connection to Kerang 500/220kV substation | 2033-05-01 | 2033 | 2067 | Yes | Wind | V2 - Murray River | - | - | - | - | - | - | - | - | 97.82% | 97.91% | 97.91% | 97.43% | 97.43% | 97.42% | 97.42% | 97.42% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | 96.84% | - | - | - | - | - | - | - | - | - | - | - | - | 0.1991% | 0.5046% | 0.5899% | 0.4086% | 0.4086% | 0.8101% | 0.8101% | 0.8101% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | 0.8257% | - | - | - | -
|  | VIC | Watta Wella WF | 3 | 306 |  | 2030-09-01 | 2031 | 2065 | Yes | Wind | V3 - Western Victoria | - | - | - | - | - | - | 98.18% | 98.27% | 98.17% | 97.84% | 97.85% | 97.67% | 97.67% | 97.59% | 97.59% | 97.59% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | 97.23% | - | - | - | - | - | - | - | - | - | - | - | - | 0.01985% | 0.04797% | 0.2383% | 0.4793% | 0.5552% | 0.3792% | 0.3792% | 0.8053% | 0.8053% | 0.8053% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | 1.07% | - | - | - | - | - | -
|  | VIC | Bunyip North BESS - Gen | 2 | 400 | Cut-in onto 976 Rowville to Yallourn 220KV line | 2029-09-01 | 2030 | 2064 | Yes | BESS |  | - | - | - | - | - | 97.41% | 97.4% | 97.34% | 97.34% | 97.32% | 97.32% | 97.69% | 97.69% | 97.6% | 97.6% | 97.6% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | 97.49% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Bunyip North BESS - Load | 2 | 400 | Cut-in onto 976 Rowville to Yallourn 220KV line | 2029-09-01 | 2030 | 2064 | Yes | BESS |  | - | - | - | - | - | 100.5% | 100.6% | 100.5% | 100.5% | 100.6% | 100.6% | 101.1% | 101.1% | 101.1% | 101.1% | 101.1% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | 100.8% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Tragowel BESS - Gen | 1 | 500 | Kerang 500A | 2031-09-01 | 2032 | 2066 | Yes | BESS |  | - | - | - | - | - | - | - | 97.87% | 97.87% | 97.84% | 97.84% | 97.35% | 97.35% | 97.35% | 97.35% | 97.35% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Tragowel BESS - Load | 1 | 500 | Kerang 500A | 2031-09-01 | 2032 | 2066 | Yes | BESS |  | - | - | - | - | - | - | - | 98.54% | 98.54% | 98.52% | 98.52% | 97.84% | 97.84% | 97.69% | 97.69% | 97.69% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | 96.96% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Watta Wella BESS - Gen | 1 | 500 | Bulgana 220kV | 2031-09-01 | 2032 | 2066 | Yes | BESS | V3 - Western Victoria | - | - | - | - | - | - | - | 97.65% | 97.65% | 97.64% | 97.64% | 97.45% | 97.45% | 97.38% | 97.38% | 97.38% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Watta Wella BESS - Load | 1 | 500 | Bulgana 220kV | 2031-09-01 | 2032 | 2066 | Yes | BESS | V3 - Western Victoria | - | - | - | - | - | - | - | 98.81% | 98.81% | 98.81% | 98.81% | 98.57% | 98.57% | 98.43% | 98.43% | 98.43% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | 97.93% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
[12 empty] | Aurora Q1 May 26 REZ MLF Forecast |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071
[12 empty] | N2 | N2 - New England | - | - | 0.84666 | 0.84336 | 0.82666 | 0.87005 | 0.87395 | 0.88979 | 0.91701 | 0.92946 | 0.92226 | 0.91012 | 0.90374 | 0.90103 | 0.90059 | 0.89909 | 0.89954 | 0.8979 | 0.89761 | 0.89656 | 0.89348 | 0.89184 | 0.89201 | 0.89243 | 0.89248 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346 | 0.89346
[12 empty] | N3 | N3 - Central-West Orana | - | - | 0.9243 | 0.90354 | 0.89657 | 0.9088 | 0.90908 | 0.90506 | 0.90229 | 0.89801 | 0.89684 | 0.89525 | 0.8936 | 0.89382 | 0.89373 | 0.89385 | 0.89587 | 0.89645 | 0.89637 | 0.89631 | 0.9014 | 0.90129 | 0.90152 | 0.90075 | 0.90058 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086 | 0.90086
[12 empty] | N5 | N5 - South West NSW | - | - | 0.83527 | 0.81518 | 0.84498 | 0.84518 | 0.85441 | 0.85178 | 0.84321 | 0.83799 | 0.84698 | 0.86229 | 0.87278 | 0.87625 | 0.86866 | 0.87077 | 0.86518 | 0.86685 | 0.86049 | 0.85787 | 0.86232 | 0.85712 | 0.84769 | 0.83614 | 0.8271 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414 | 0.81414
[12 empty] | Q6 | Q6 - Fitzroy | - | - | 0.93667 | 0.93027 | 0.92147 | 0.937 | 0.9317 | 0.93726 | 0.93666 | 0.92674 | 0.9207 | 0.91922 | 0.91876 | 0.91856 | 0.91944 | 0.91574 | 0.91564 | 0.91322 | 0.90618 | 0.90912 | 0.90778 | 0.91012 | 0.91698 | 0.9161 | 0.9127 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172 | 0.9172
[12 empty] | Q7 | Q7 - Wide Bay | - | - | 0.96706 | 0.96424 | 0.96114 | 0.97556 | 0.97048 | 0.97402 | 0.97422 | 0.96706 | 0.9641 | 0.96438 | 0.96346 | 0.95814 | 0.95588 | 0.94666 | 0.94242 | 0.93594 | 0.92284 | 0.92128 | 0.91618 | 0.91216 | 0.91162 | 0.90838 | 0.89978 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566 | 0.88566
[12 empty] | Q8 | Q8 - Darling Downs | - | - | 0.98162 | 0.9778 | 0.97698 | 0.96117 | 0.96026 | 0.95595 | 0.95244 | 0.95428 | 0.95158 | 0.94912 | 0.9428 | 0.93946 | 0.93833 | 0.94008 | 0.93929 | 0.93902 | 0.9417 | 0.93942 | 0.9375 | 0.93549 | 0.93329 | 0.93202 | 0.93162 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323 | 0.93323
[12 empty] | V2 | V2 - Murray River | - | - | 0.9153 | 0.89986 | 0.87036 | 0.89207 | 0.9008 | 0.93204 | 0.93643 | 0.93906 | 0.94214 | 0.89196 | 0.88976 | 0.88019 | 0.86869 | 0.87233 | 0.86588 | 0.86204 | 0.85983 | 0.85784 | 0.85528 | 0.85164 | 0.84863 | 0.84622 | 0.84437 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044 | 0.84044
[12 empty] | V3 | V3 - Western Victoria | - | - | 0.92409 | 0.93465 | 0.92093 | 0.96198 | 0.96078 | 0.96289 | 0.96102 | 0.96032 | 0.95737 | 0.93998 | 0.93465 | 0.93136 | 0.92985 | 0.92963 | 0.92843 | 0.92277 | 0.92175 | 0.92153 | 0.92096 | 0.92044 | 0.9203 | 0.92028 | 0.92012 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978 | 0.91978

## Raw Data - Aurora MT
|  | Source Data | [11 empty] | Marginal Loss Factors | [46 empty] | Curtailment
State | Project | State | Project | Project Phase | Capacity (GEM) | Connection Arrangement | Commissioning Start | Model FY | Yr35 | In GM? | Technology | REZ | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | Comments
NSW | Bogandilla WF | NSW | Argoon WF | 2 | 612 |  | 2036-09-01 | 2037 | 2071 | Yes | Wind | N5 - South West NSW | - | - | - | - | - | - | - | - | - | - | - | - | 87.34% | 87.34% | 87.34% | 87.34% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | 88.29% | - | - | - | - | - | - | - | - | - | - | - | - | 7.652% | 7.652% | 7.652% | 7.652% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071% | 8.071%
QLD | Moah Creek SF | NSW | Kerrs Creek WF | 2 | 374 | Cut-in onto Wellington to Mt Piper 330kV line | 2030-08-01 | 2031 | 2065 | Yes | Wind | N3 - Central-West Orana | - | - | - | - | - | - | 92.83% | 93.02% | 92.84% | 93% | 93% | 92.43% | 92.43% | 91.89% | 91.89% | 91.89% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | 91.95% | - | - | - | - | - | - | - | - | - | - | - | - | 0% | 0.3962% | 0.4011% | 0.5195% | 0.1135% | 0.2218% | 0.2218% | 0.1262% | 0.1262% | 0.1262% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | 0.5201% | - | - | - | - | - | -
VIC | Moah Creek WF | NSW | Walla Walla BESS - Gen | 1 | 650 / 2h | 330kV | 2030-09-01 | 2031 | 2065 | Yes | BESS | V2 - Murray River | - | - | - | - | - | - | 93.75% | 90.86% | 90.92% | 89.83% | 89.35% | 89.69% | 89.69% | 89.41% | 89.41% | 89.41% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | 90.37% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Mt Sugarloaf WF | NSW | Walla Wella BESS - Load | 1 | 650 / 2h | 330kV | 2030-09-01 | 2031 | 2065 | Yes | BESS | V2 - Murray River | - | - | - | - | - | - | 95.11% | 92.76% | 92.89% | 92.27% | 92.43% | 93.67% | 93.67% | 93.25% | 93.25% | 93.25% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | 93.71% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| Silver Eye (Tara) WF | QLD | Bogandilla WF | 2 | 578 |  | 2032-09-01 | 2033 | 2067 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | - | - | - | - | 91.07% | 91.13% | 90.59% | 90.69% | 90.69% | 91.42% | 91.42% | 91.42% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | 91.93% | - | - | - | - | - | - | - | - | - | - | - | - | 2.814% | 3.048% | 2.867% | 2.866% | 2.866% | 2.359% | 2.359% | 2.359% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | 2.228% | - | - | - | -
| Tarong West WF | QLD | Moah Creek SF | 2 | 285 |  | 2029-11-01 | 2030 | 2064 | Yes | Solar | Q6 - Fitzroy | - | - | - | - | - | 91.03% | 90.52% | 93.52% | 92.93% | 91.76% | 90.67% | 89.91% | 89.91% | 88.18% | 88.18% | 88.18% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | 86.92% | - | - | - | - | - | - | - | - | - | - | - | - | 0.7334% | 0.5926% | 0.9606% | 0.1625% | 0.2722% | 0.1042% | 0.1658% | 0.1658% | 0.2023% | 0.2023% | 0.2023% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | 0.5255% | - | - | - | - | - | - | -
| Wooderson SF | QLD | Moah Creek WF | 3 | 360 |  | 2029-01-01 | 2029 | 2063 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | 91.89% | 93.65% | 93.68% | 99.36% | 98.43% | 96.57% | 94.7% | 93.44% | 93.44% | 90.01% | 90.01% | 90.01% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | 88.1% | - | - | - | - | - | - | - | - | - | - | - | - | 0.4525% | 0.1885% | 0.1338% | 0.1221% | 0.08261% | 0.01934% | 0.02188% | 0.05765% | 0.05765% | 0.0483% | 0.0483% | 0.0483% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | 0.1946% | - | - | - | - | - | - | - | -
|  | QLD | Mt Sugarloaf WF | 2 | 510 |  | 2032-12-01 | 2033 | 2067 | Yes | Wind | Q6 - Fitzroy | - | - | - | - | - | - | - | - | 98.42% | 97.42% | 96.08% | 95.02% | 95.02% | 92.59% | 92.59% | 92.59% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | 91.05% | - | - | - | - | - | - | - | - | - | - | - | - | 0.1412% | 0.007952% | 0.01346% | 0.04999% | 0.04999% | 0.03492% | 0.03492% | 0.03492% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | 0.1918% | - | - | - | -
|  | QLD | Silver Eye (Tara) WF | 1 | 799.2 |  | 2034-10-01 | 2035 | 2069 | Yes | Wind | Q8 - Darling Downs | - | - | - | - | - | - | - | - | - | - | 92.17% | 92.43% | 92.43% | 92.99% | 92.99% | 92.99% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | 93.51% | - | - | - | - | - | - | - | - | - | - | - | - | 0.01539% | 0.03673% | 0.03673% | 0% | 0% | 0% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | 0.07226% | - | -
|  | QLD | Tarong West WF | 3 | 436.5 |  | 2030-10-01 | 2031 | 2065 | Yes | Wind | Q8 - Darling Downs | - | - | - | - | - | - | 95.12% | 95.71% | 95.53% | 95.36% | 95.19% | 95.01% | 95.01% | 94.73% | 94.73% | 94.73% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | 94.58% | - | - | - | - | - | - | - | - | - | - | - | - | 0.1095% | 0.1059% | 0.0462% | 0.01398% | 0.01787% | 0.06024% | 0.06024% | 0.01743% | 0.01743% | 0.01743% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | 0.0892% | - | - | - | - | - | -
|  | QLD | Wooderson SF | 2 | 450 | Cut-in onto new Calvale to Calliope River 275kV line | 2030-10-01 | 2031 | 2065 | Yes | Solar | Q6 - Fitzroy | - | - | - | - | - | - | 91.54% | 94.42% | 93.85% | 92.78% | 92.01% | 91.64% | 91.64% | 90.27% | 90.27% | 90.27% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | 89.19% | - | - | - | - | - | - | - | - | - | - | - | - | 0.6477% | 1.041% | 0.2706% | 0.3119% | 0.1153% | 0.2514% | 0.2514% | 0.05642% | 0.05642% | 0.05642% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | 0.5709% | - | - | - | - | - | -
|  | VIC | Cannie WF | 2 | 1000.8 | Direct connection to Kerang 500/220kV substation | 2033-05-01 | 2033 | 2067 | Yes | Wind | V2 - Murray River | - | - | - | - | - | - | - | - | 97.91% | 97.92% | 97.96% | 97.47% | 97.47% | 97.42% | 97.42% | 97.42% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | 96.54% | - | - | - | - | - | - | - | - | - | - | - | - | 0.1367% | 0.576% | 0.8096% | 0.6717% | 0.6717% | 0.8101% | 0.8101% | 0.8101% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | 0.4823% | - | - | - | -
|  | VIC | Watta Wella WF | 3 | 306 |  | 2030-09-01 | 2031 | 2065 | Yes | Wind | V3 - Western Victoria | - | - | - | - | - | - | 98.24% | 98.3% | 98.18% | 97.85% | 97.89% | 97.69% | 97.69% | 97.59% | 97.59% | 97.59% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | 97.09% | - | - | - | - | - | - | - | - | - | - | - | - | 0.001924% | 0.2903% | 0.2415% | 0.5353% | 0.7727% | 0.6324% | 0.6324% | 0.8053% | 0.8053% | 0.8053% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | 1.782% | - | - | - | - | - | -
|  | VIC | Bunyip North BESS - Gen | 2 | 400 | Cut-in onto 976 Rowville to Yallourn 220KV line | 2029-09-01 | 2030 | 2064 | Yes | BESS | V0 - NON Rez | - | - | - | - | - | 97.49% | 97.52% | 97.4% | 97.4% | 97.35% | 97.35% | 97.7% | 97.7% | 97.6% | 97.6% | 97.6% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | 97.67% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Bunyip North BESS - Load | 2 | 400 | Cut-in onto 976 Rowville to Yallourn 220KV line | 2029-09-01 | 2030 | 2064 | Yes | BESS | V0 - NON Rez | - | - | - | - | - | 100.3% | 100.4% | 100.4% | 100.5% | 100.5% | 100.6% | 101.1% | 101.1% | 101.1% | 101.1% | 101.1% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | 100.9% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Tragowel BESS - Gen | 1 | 500 | Kerang 500A | 2031-09-01 | 2032 | 2066 | Yes | BESS | V2 - Murray River | - | - | - | - | - | - | - | 98.39% | 98.23% | 97.88% | 97.91% | 97.41% | 97.41% | 97.35% | 97.35% | 97.35% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | 96.41% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Tragowel BESS - Load | 1 | 500 | Kerang 500A | 2031-09-01 | 2032 | 2066 | Yes | BESS | V2 - Murray River | - | - | - | - | - | - | - | 99.06% | 98.77% | 98.53% | 98.59% | 97.91% | 97.91% | 97.69% | 97.69% | 97.69% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | 96.88% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Watta Wella BESS - Gen | 1 | 500 | Bulgana 220kV | 2031-09-01 | 2032 | 2066 | Yes | BESS | V3 - Western Victoria | - | - | - | - | - | - | - | 98.04% | 97.88% | 97.66% | 97.69% | 97.48% | 97.48% | 97.38% | 97.38% | 97.38% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | 96.85% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | VIC | Watta Wella BESS - Load | 1 | 500 | Bulgana 220kV | 2031-09-01 | 2032 | 2066 | Yes | BESS | V3 - Western Victoria | - | - | - | - | - | - | - | 99.04% | 98.93% | 98.8% | 98.85% | 98.61% | 98.61% | 98.43% | 98.43% | 98.43% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | 97.88% | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -